Text for specification

Description
mounting rail 72 mm
for busbar adapters
60Classic

Standards
IEC 61439-1:2011

Approvals
CSA, UL

Electrical data

Brand 
Woehner or equivalent

Part No.
32950000