Text for specification

Description
comb-type busbar, 3-pole, for 2 NH fuse switch disconnectors
35 mm²
Accessories

Standards
IEC 60947-1:2020
IEC 60947-3:2020 AC ratings only

Electrical data
power dissipation at full load of the item:	7.9 W

Brand 
Woehner or equivalent

Part No.
33906000