Text for specification

Description
current transformer 400 A / 5 A
2.5 VA / class 1
60Classic
185Power
Accessories

Standards
IEC 61869-1:2007
IEC 61869-2:2012

Electrical data
power dissipation at full load of the item:	1.5 W

Brand 
Woehner or equivalent

Part No.
37214000A