Text for specification

Description
reserve section cover
54 x 195, pitch 3 x 18 mm
Accessories

Standards
IEC 61439-1:2020

Electrical data

Brand 
Woehner or equivalent

Part No.
79738000