Text for specification

Description
set of holders for cover sections
for 4-pole busbar systems
set consisting of left and right holder, for covers 01599, 01555 and 01417
60Classic

Standards
IEC 61439-1:2011
IEC 60999-1:1999
IEC 60999-2:2003

Approvals
CSA, UL

Electrical data

Material properties
Main body:
	temperature stability 125°C, 
	self-extinguishing in acc. to UL 94, 
	creepage resistance CTI 200

Brand 
Woehner or equivalent

Part No.
01137000