Text for specification

Description
end cover
for busbar support 01356 and 01601
60Classic

Standards
IEC 61439-1:2011

Electrical data

Material properties
Main body:
	temperature stability 125°C, 
	self-extinguishing in acc. to UL 94, 
	creepage resistance CTI 200,
	halogen-free

Brand 
Woehner or equivalent

Part No.
01325000