Text for specification

Description
hammer-head screw for TCC-profile
M10 x 45
for subsequent mounting, with nut and spring washer
centre feed unit
Accessories

Standards
IEC 61439-1:2011

Electrical data

Material properties
Connecting screws:
	Hexagon nut M10, chromized, length across flats 17   

Brand 
Woehner or equivalent

Part No.
01379000