Text for specification

Description
prism terminal, single, for Cu cables
16 - 70 mm²
NH 00
60Classic

Standards
IEC 60947-1:2020
IEC 60947-3:2020 AC ratings only

Electrical data

Terminal points
Suitable for aluminium cables.
When using aluminium cables, observe the maintenance instructions.

Brand 
Woehner or equivalent

Part No.
33224000