Text for specification

Description
current transformer 600 A / 5 A, with decl. of conformity
5 VA / class 0.5
size 1 - 3
185Power

Standards
IEC 61869-1:2007
IEC 61869-2:2012

Electrical data

Material properties
Material: polyamide
temperature-resistant up to 120 °C

Brand 
Woehner or equivalent

Part No.
33787000