Text for specification

Description
OMUS^®CrossBoard
hybrid switch, 3-pole or 1-pole switchable
electronic unit switch for resistive loads 25.0 A, for applications IEC

Standards
IEC 60947-1:2007 + A1:2010 + A2:2014
IEC 60947-4-3:2014

Approvals
IEC (CB)

Electrical data
Rated current (IEC):	25 A
rated voltage (IEC) AC:	400 V

power dissipation at full load of the item:	20,0 W

rated isolation voltage U_i AC:	500 V
rated surge voltage U_imp :	2,5 kV

Brand 
Woehner or equivalent

Part No.
36154000A