Text for specification

Description
single cover for terminals
for terminal plate 01240
60Classic

Standards
IEC 61439-1:2011
IEC 60999-1:1999
IEC 60999-2:2003

Approvals
CSA, UL

Electrical data

Brand 
Woehner or equivalent

Part No.
01300000