Text for specification

Description
box terminal
für Cu / Al 70 - 240 mm²
size 1 - 3
185Power

Standards
IEC 60947-1:2020
IEC 60947-3:2020 AC ratings only

Electrical data

Brand 
Woehner or equivalent

Part No.
33735000A