Text for specification

Description
current transformer 80 A / 5 A
2,5 VA / class 1
size 00
185Power

Standards
IEC 61869-1:2007
IEC 61869-2:2012

Electrical data
power dissipation at full load of the item:	5,0 W

Brand 
Woehner or equivalent

Part No.
33741000