Text for specification

Description
connecting terminal 120 mm²
front connection
Accessories

Standards
IEC 60947-1:2020
IEC 60947-3:2020 AC ratings only

Electrical data

Terminal points
Cu 25-120mm² s(r); Cu 35-95mm² s(s); Cu 25-70mm² f+AE

Brand 
Woehner or equivalent

Part No.
33914000