Text for specification

Description
module PE
terminal 16 mm²
9 x 160
30Compact 5P

Standards
IEC 61439-1:2011

Electrical data
rated voltage (IEC) AC:	690 V

power dissipation at full load of the item:	0.8 W

rated isolation voltage U_i AC:	690 V

Connecting terminal 1.5 - 16mm²

Brand 
Woehner or equivalent

Part No.
32634000