Text for specification

Description
cover for cable lugs, top / bottom attachable
for QCB-NH2
60Classic

Standards
IEC 60947-1:2020
IEC 60947-3:2020 AC ratings only

Electrical data

Brand 
Woehner or equivalent

Part No.
33143000