Text for specification

Description
clamp connector for Cu cables
70 - 150 mm²
60Classic

Standards
IEC 60947-1:2020
IEC 60947-3:2020 AC ratings only

Electrical data

Terminal points
18 x 10

Brand 
Woehner or equivalent

Part No.
33163000