Text for specification

Description
trough edge section
wide
77 x 36 x 1100
60Classic

Standards
IEC 61439-1:2011

Electrical data

Miscellaneous 
Part of the shrouding system for shock protection of the 3 and 4-pole busbar system.

Brand 
Woehner or equivalent

Part No.
01043000