Text for specification

Description
set of holders for cover sections
for 3-pole busbar systems
set consisting of left and right holder, for covers 01554, 01555 and 01417
60Classic

Standards
IEC 61439-1:2020
IEC 60999-1:1999
IEC 60999-2:2003

Approvals
CSA, UL

Electrical data

Brand 
Woehner or equivalent

Part No.
01136000