Text for specification

Description
current transformer 500 A / 5 A, with decl. of conformity
1.5 VA / class 0.5
Accessories

Standards
IEC 61869-1:2007
IEC 61869-2:2012

Electrical data
power dissipation at full load of the item:	4.2 W

Brand 
Woehner or equivalent

Part No.
37211000A