Text for specification

Description
terminal support for PE/N-bar
screw-on
Accessories

Standards
IEC 61439-1:2011

Electrical data

Material properties
Main body:
	temperature stability 125°C, 
	self-extinguishing in acc. to UL 94, 
	creepage resistance CTI 600,
	halogen-free

Brand 
Woehner or equivalent

Part No.
01120000