Text for specification

Description
shock protection in two parts
for NH fuse-base
size 00
60Classic
100Energy
185mm-System

Standards
IEC 60269-1:2006 + A1:2009 + A2:2014
IEC 60269-2:2013 + A1:2016

Electrical data

Material properties
Shock protection cover:
	temperature stability 125°C,
	 self-extinguishing in acc. to UL 94,
	 creepage resistance CTI 600,
	 halogen-free 

Brand 
Woehner or equivalent

Part No.
03791000