Text for specification

Description
cover for connecting space
size 00
Accessories

Standards
IEC 60947-1:2020
IEC 60947-3:2020 AC ratings only

Electrical data

Material properties
Main body:
	temperature stability 125°C, 
	self-extinguishing in acc. to UL 94, 
	creepage resistance CTI 600,
	halogen-free

Brand 
Woehner or equivalent

Part No.
33223000