Text for specification

Description
spare part busbar adapter 25 A
busbar adapter base
60Classic

Standards
IEC 61439-1:2011

Approvals
UL

Electrical data
Rated current (IEC):	25 A
rated voltage (IEC) AC:	400 V
rated voltage (UL) AC:	500 V

rated isolation voltage Ui AC:	500 V
rated surge voltage Uimp :	4 kV

Brand 
Woehner or equivalent

Part No.
36207000A