Text for specification

Description
flat terminal
connection of busbar 30 wide with lam. Cu 30 wide
60Classic

Standards
IEC 61439-1:2011

Electrical data

Brand 
Woehner or equivalent

Part No.
01586000