Text for specification

Description
spare part busbar adapter 25 A
busbar adapter base
30Compact 3P

Standards
IEC 61439-1:2011

Approvals
UL

Electrical data
Rated current (IEC):	25 A
rated voltage (IEC) AC:	400 V
rated voltage (UL) AC:	500 V

rated isolation voltage U_i AC:	500 V
rated surge voltage U_imp :	4 kV

Brand 
Woehner or equivalent

Part No.
36155000A