Text for specification

Description
cylindr. fuse link 20 A
690 V, gR
14 x 51
Accessories

Standards
IEC 60269-1:2006 + A1:2009 + A2:2014
IEC 60269-4:2009 + A1:2012 + A2: 2019

Approvals
IEC (CB), UL

Electrical data
Rated current (IEC):	20 A
rated voltage (IEC) AC:	690 V
rated voltage (UL) AC:	700 V

power dissipation at full load of the item:	6.0 W

rated short-circuit breaking capacity AC:	200 kA

Brand 
Woehner or equivalent

Part No.
31217000