Text for specification

Description
MIEZ
Power analyser
Measurement of current, voltage, power, energy and derived values
Analysis and monitoring of voltage and power quality

Standards
EN 61010-1:2010 + A1
CSN EN 61010-2-030:2011 + O1 + Z1

Electrical data
rated voltage (IEC) DC:	24 V

power dissipation at full load of the item:	3.5 W
max. permitted voltage (IEC) DC:	75 V

Brand 
Woehner or equivalent

Part No.
37020000A