Text for specification

Description
compartment section
slotted
17 x 86 x 2400
60Classic

Standards
IEC 61439-1:2011

Electrical data

Material properties
Cover:
	temperature stability 70°C, 
	self-extinguishing in acc. to UL 94

Miscellaneous 
To safeguard against touching the busbars from above and below.

Brand 
Woehner or equivalent

Part No.
01030000