Text for specification

Description
Set of phase separators for UL installation, 3-pole
for longitudinal connecting terminals 01886, 01829, 01275
200 mm
60Classic

Standards
IEC 61439-1:2011

Approvals
UL

Electrical data
rated voltage (UL) AC:	600 V

Material properties
Main body:
	temperature stability 125°C, 
	self-extinguishing in acc. to UL 94, 
	creepage resistance CTI 200,
	halogen-free

Brand 
Woehner or equivalent

Part No.
01362000