Text for specification

Description
connection terminal
1x 50 - 120 mm²

Standards
IEC 60947-1:2020
IEC 60947-3:2020 AC ratings only

Electrical data
Rated current (IEC):	250 A

Brand 
Woehner or equivalent

Part No.
23925000AD