Text for specification

Description
current transformer 200 A / 5 A
1.5 VA / class 0.5
60Classic
Accessories

Standards
IEC 61869-1:2007
IEC 61869-2:2012

Electrical data
power dissipation at full load of the item:	0.6 W

Material properties
temperature-resistant up to 125 °C

Brand 
Woehner or equivalent

Part No.
37219000A