Text for specification

Description
busbar cover
for 40 - 60 x 10 busbars, 1m long
touch protection cover
100Energy
185Power
185mm-System

Standards
IEC 61439-1:2011

Electrical data

Brand 
Woehner or equivalent

Part No.
01251000