Text for specification

Description
prism terminal, single, for Cu cables
35 - 150 mm²
QCB-NH1, QCS-NH1, QCS-320
60Classic

Standards
IEC 60947-1:2020
IEC 60947-3:2020 AC ratings only

Electrical data

Brand 
Woehner or equivalent

Part No.
33166000