Text for specification

Description
pilot switch for monitoring the switch position
changeover 250 V AC / 5 A, 30 V DC / 4 A
60Classic

Standards
IEC 60947-1:2020
IEC 60947-3:2020 AC ratings only

Electrical data

Brand 
Woehner or equivalent

Part No.
33908000