Text for specification

Description
flat terminal
connection of busbar 40 wide with lam. Cu 20 wide
60Classic

Standards
IEC 61439-1:2011

Electrical data

Material properties
Screws:
	Hexagon screw M6x30, length across flats 10
Terminal body:
	galvanized steel, chromized

Brand 
Woehner or equivalent

Part No.
01206000