Text for specification

Description
fuse link 70 A
600 V AC, fast acting
Class J, 29x118
Accessories

Standards

Approvals
CSA, UL

Electrical data

rated current (UL):	70 A
rated voltage (UL) AC:	600 V

SCCR: 200 kA AC 

Brand 
Woehner or equivalent

Part No.
03214100A