Text for specification

Description
shock protection in two parts
for NH fuse-base
size 1
100Energy
185mm-System

Standards
IEC 60269-1:2006 + A1:2009 + A2:2014
IEC 60269-2:2013 + A1:2016

Electrical data

Brand 
Woehner or equivalent

Part No.
03792000