Text for specification

Description
EQUES®30Compact
busbar adapter 144 A, 3-pole
76 x 160
30Compact 3P

Standards
IEC 61439-1:2011

Electrical data
Rated current (IEC):	144 A
rated voltage (IEC) AC:	690 V

power dissipation at full load of the item:	12.0 W

rated isolation voltage Ui AC:	800 V
rated surge voltage Uimp :	6 kV

Material properties
Conductor insulation: 	PVC, 	temperature-resistant up to 105 °C

Brand 
Woehner or equivalent

Part No.
32661000A