Text for specification

Description
trim frame, single
143 x 210, for 33221, 33222
size 00
Accessories

Standards
IEC 60947-1:2020
IEC 60947-3:2020 AC ratings only

Electrical data

Material properties
Main body:
	temperature stability 70°C, 
	self-extinguishing in acc. to UL 94

Brand 
Woehner or equivalent

Part No.
33225000