Text for specification

Description
MIEZ
Multifunctional measuring device for front panel installation
Measurement of current, voltage, power, energy and derived values

Standards

Electrical data
rated voltage (IEC) AC:	230 V

power dissipation at full load of the item:	4.0 W
max. permitted voltage (IEC) AC:	275 V
max. permitted voltage (IEC) DC:	350 V

Brand 
Woehner or equivalent

Part No.
37000000A