Text for specification

Description
flat terminal
connection  of width 63 and 40
60Classic

Standards
IEC 61439-1:2011

Electrical data

Brand 
Woehner or equivalent

Part No.
01218000