Text for specification

Description
gauge ring 63 A
copper
E 33
Accessories

Standards
IEC 60269-1:2006 + A1:2009 + A2:2014
IEC 60269-3:2010 + A1:2013 + A2:2019

Electrical data
Rated current (IEC):	63 A

Brand 
Woehner or equivalent

Part No.
01550000