Text for specification

Description
cylindr. fuse link 2,5 A
600 V AC, time delay
Class CC
Accessories

Standards

Approvals
UL

Electrical data

rated current (UL):	2.5 A
rated voltage (UL) AC:	600 V
rated voltage (UL) DC:	300 V

SCCR:	200 kA

SCCR: 20 kA DC 

Brand 
Woehner or equivalent

Part No.
31034100A