Text for specification

Description
fuse link 6 A
600 V AC, time delay
Class J, 21x57
Accessories

Standards

Approvals
UL

Electrical data

rated current (UL):	6 A
rated voltage (UL) AC:	600 V
rated voltage (UL) DC:	300 V

SCCR: 100 kA DC, 300 kA AC 

Brand 
Woehner or equivalent

Part No.
31349100