Text for specification

Description
current transformer 150 A / 5 A
1.5 VA / class 1
size 1 - 3
185Power

Standards
IEC 61869-1:2007
IEC 61869-2:2012

Electrical data
power dissipation at full load of the item:	1.5 W

Brand 
Woehner or equivalent

Part No.
33744000