Text for specification

Description
connection terminal
3x 50 - 95 mm²

Standards
IEC 60947-1:2020
IEC 60947-3:2020 AC ratings only

Electrical data
Rated current (IEC):	630 A

Brand 
Woehner or equivalent

Part No.
23929000AD