Text for specification

Description
EQUES®60Classic
busbar adapter 144 A, 3-pole
76 x 200
60Classic

Standards
IEC 61439-1:2011

Electrical data
Rated current (IEC):	144 A
rated voltage (IEC) AC:	690 V

power dissipation at full load of the item:	12,0 W

rated isolation voltage Ui AC:	800 V
rated surge voltage Uimp :	6 kV

Brand 
Woehner or equivalent

Part No.
32660000A