Text for specification

Description
terminal compartment cover
universal for NH-rails size 1 - 3 and connection rail 800 A
size 1- 3
185Power

Standards
IEC 60947-1:2020
IEC 60947-3:2020 AC ratings only

Electrical data

Brand 
Woehner or equivalent

Part No.
33733000A