Text for specification

Description
terminal support for PE/N-bar
snap-on to mounting rail TH35
Accessories

Standards
IEC 61439-1:2011

Electrical data

Brand 
Woehner or equivalent

Part No.
01121000